Address:

Occupant Load:

STA Class:  Choose an item.

Date Inspected:       24-08-18

| ☐ | MAINTENANCE DOCUMENTATION |
| --- | --- |
|  | - Ongoing 2 Year Records Upon Request |
| ☐ | INTERCONNECTED SMOKE ALARMS |
|  | - All Levels - Each Bedroom - Service Room |
| ☐ | CARBON MONOXIDE ALARMS OUTSIDE ALL SLEEPING AREAS |
|  | - Outside All Sleeping Areas if Building has Attached Garage and/or Fuel Burning Appliances |
| ☐ | APPROVED SECOND EXIT |
|  | - Approved Second Exit from Sleeping Floor and Or from Basement if Sleeping Below Grade - Second Exit Y/N - Basement Y/N |
| ☐ | 3A10BC EXTINGUISHER |
|  | - All Levels at Exits |
| ☐ | EXIT SIGNAGE |
|  | - All Corridors (Exit sign meets OBC requirements for size, colour and either hardwired or photoluminescent (photoluminescent also requires constant light source or emergency light pack directed at sign)) - Ensure the exit signage meets CAN/ULC S-572 Standard for Photoluminescent signage |
| ☐ | CORRIDOR LIGHTING |
|  | - All Corridors |
| ☐ | FIREPLACE/CHIMNEY/APPLIANCES ANNUAL MAINTENANCE |
|  | - All Fuel Burning Appliances; Furnace, Hot Water, Fireplace, Wood Stove - Fire Department Maintenance Requirement Sign Off - ** The STA Appliance Sign Off Document Must Be Completed and Submitted** |

| ☐ | MAINTENANCE OF EXITS |
| --- | --- |
|  | - All Exits - Signage Over Each Exit - Exits Are Unobstructed Inside and Outside the Suite - Emergency Window Exits Shall Have Window Opening Instructions Posted at The Window |
| ☐ | APPROVED FIRE SAFETY PLAN (FSP) |
|  | - Required for Each Unit and Must be Submitted to Fire Service for Review and Approval - FSP Must Include Floor Plans for Each Level and Parking Plan if Applicable |
| ☐ | FLOOR PLANS |
|  | - Floor Plans for Each Level - Must Have a Legend and Indicates Placement of: a. Smoke/Carbon Monoxide Alarms b. Smoke Alarms c. Fire Extinguishers d. EXIT Signs & Emergency Lighting e. Secondary Means of Egress f. Main Electrical Shut Off g. Main Gas Shut Off |
| ☐ | SITE PLANS – IF APPLICABLE |
|  | - Site Plan - If Applicable, Parking Plan Shall Have Location for Outdoor Burning - Must Meet the Recreational Open Air Burning Guidelines and have distances from ALL combustibles clearly marked |

Notes:

Approved:  Choose an item.

Choose an item.

Signature: _______________________

SMOKE & CARBON MONOXIDE ALARM UNITS

| Choose an item. | Choose an item. | Choose an item. | Choose an item. | Choose an item. |
| --- | --- | --- | --- | --- |
| Type | Floor | Location | Model | Expiry |
| Choose an item. | Choose an item. | Choose an item. | Choose an item. | Choose an item. |
| Type | Floor | Location | Model | Expiry |
| Choose an item. | Choose an item. | Choose an item. | Choose an item. | Choose an item. |
| Type | Floor | Location | Model | Expiry |
| Choose an item. | Choose an item. | Choose an item. | Choose an item. | Choose an item. |
| Type | Floor | Location | Model | Expiry |
| Choose an item. | Choose an item. | Choose an item. | Choose an item. | Choose an item. |
| Type | Floor | Location | Model | Expiry |
| Choose an item. | Choose an item. | Choose an item. | Choose an item. | Choose an item. |
| Type | Floor | Location | Model | Expiry |
| Choose an item. | Choose an item. | Choose an item. | Choose an item. | Choose an item. |
| Type | Floor | Location | Model | Expiry |
| Choose an item. | Choose an item. | Choose an item. | Choose an item. | Choose an item. |
| Type | Floor | Location | Model | Expiry |
| Choose an item. | Choose an item. | Choose an item. | Choose an item. | Choose an item. |
| Type | Floor | Location | Model | Expiry |
| Choose an item. | Choose an item. | Choose an item. | Choose an item. | Choose an item. |
| Type | Floor | Location | Model | Expiry |
| Choose an item. | Choose an item. | Choose an item. | Choose an item. | Choose an item. |
| Type | Floor | Location | Model | Expiry |
| Choose an item. | Choose an item. | Choose an item. | Choose an item. | Choose an item. |
| Type | Floor | Location | Model | Expiry |